## Institutional (Hospital)
INSTITUTIONAL — HOSPITAL / TERTIARY & SUPER SPECIALTY HEALTH CARE
UBBL Delhi 2016 · Annexure VI (MPD-2021) Table 13.2 · MPD-2021 Chapter 13 · Amendments up to Feb 2020
FAR & GROUND COVERAGE — HOSPITAL / TERTIARY HEALTH CARE CENTRE
Parameter / ROW Condition | Ground Coverage | Max FAR | Height | Notes
Plot on ROW < 24 m | Max 40% (+5% addl. for multi-level parking) | 250 | No restriction (NR)* | Building-to-building distances as per BBL & fire tender movement requirements
Plot on ROW 24 m – 30 m | Max 40% (+5% addl. for multi-level parking) | 300 | No restriction (NR)* | Building-to-building distances as per BBL & fire tender movement requirements
Plot on ROW ≥ 30 m | Max 40% (+5% addl. for multi-level parking) | 375 | No restriction (NR)* | Building-to-building distances as per BBL & fire tender movement requirements
Plot in MRTS / Major Transport Corridor Influence Zone | Max 40% (+5% addl. for multi-level parking) | 50% more than applicable ROW-based FAR | No restriction (NR)* | Additional 50% FAR over the applicable ROW-based FAR (e.g. 375 → 562 on ≥30m ROW)
⚠ *NR = No height restriction, subject to clearance from AAI / Delhi Fire Service (DFS) / Delhi Metropolitan Authority (DMA) / National Monument Authority (NMA). DFS may allow no height restriction for healthcare with commensurate fire & life safety measures. Height restriction of 30 m in hospital buildings to be reviewed with Fire Dept. GNCTD.
GROUND COVERAGE — DETAILED RULES
Item | Norm / Value
Standard maximum ground coverage | Decided by inter-se building-to-building distances as per BBL & fire tender movement; absolute ceiling = 40%
Additional coverage for multi-level podium parking | +5% additional ground coverage permissible (total up to 45%)
Atrium allowance | Max +10% additional ground coverage for atrium; 25% of the utilised atrium coverage counted towards FAR
Multi-level podium parking | Permissible within building envelope lines, free from FAR and ground coverage
Plot size restriction in residential areas | Hospital plot size restricted to max 1.5 ha in residential areas; min 18 m ROW on at least one side; preference for 3-side open plot
MINIMUM SETBACKS (Table 17.1 — Non-Residential Plotted Development)
Plot Size (sq.m) | Front (m) | Rear (m) | Side-1 (m) | Side-2 (m)
Up to 60 | 0 | 0 | — | —
Above 60 – 150 | 3 | 1.5 avg | — | —
Above 150 – 300 | 4 | 2 avg | — | —
Above 300 – 500 | 4 | 3 | 3 | —
Above 500 – 2,000 | 6 | 3 | 3 | 3
Above 2,000 – 10,000 | 9 | 6 | 6 | 6
Above 10,000 (≤1.5 ha →15,000 sq.m) | 15 | 12 | 12 | 12
ℹ Hospital plots in residential areas capped at 1.5 ha (15,000 sq.m). Typical large hospital plot (e.g. 5,000–15,000 sq.m): Front 9–15 m ¦ Rear 6–12 m ¦ Side 6–12 m. If permissible coverage not achievable with these setbacks, preceding category setbacks may apply.
PARKING NORMS
Category | Parking Standard | Space: Open | Space: Basement / Podium | Notes
Hospital / Tertiary Health Care Centre | 2.0 ECS per 100 sq.m floor area | 23 sq.m/ECS | 32 sq.m/ECS (basement) 16 sq.m/ECS (automated) | Multi-level podium parking free from FAR & ground coverage
Other health facilities (maternity, nursing home, polyclinic) | 2.0 ECS per 100 sq.m floor area | 23 sq.m/ECS | 32 sq.m/ECS | Standard hospital parking norm applies
Nursing & Paramedic Institute | 2.0 ECS per 100 sq.m floor area | 23 sq.m/ECS | 32 sq.m/ECS | —
ℹ Parking misused is liable to municipalisation / takeover by Local Body. Multi-level with ramps = 30 sq.m/ECS ¦ Automated multilevel = 16 sq.m/ECS ¦ Open = 23 sq.m/ECS ¦ Covered ground floor = 28 sq.m/ECS.
WHAT IS EXCLUDED FROM FAR — HOSPITALS
Element / Space | FAR Treatment | Ground Coverage Treatment |  | Source / Condition
Common waiting halls & reception areas | FREE from FAR | Counted in GC |  | Table 13.2, Other Control 5
Fire staircases | FREE from FAR | Counted in GC |  | Table 13.2, Other Control 5
Service floor (height ≤ 1.8 m) | FREE from FAR | Not counted in GC |  | Table 13.2, Other Control 6
Multi-level podium parking | FREE from FAR | FREE from GC |  | Table 13.2, Other Control 4
Basement (parking, services, back-office*) | FREE from FAR | Not counted |  | *With prior agency approval; kitchen, laundry, radiology lab also permitted
Residential for essential staff (≤25% of FAR) | Counted in FAR | Counted in GC |  | Table 13.2, Other Control 1 — up to 25% of permitted FAR
Dormitory / hostel for patient attendants | Counted in FAR | Counted in GC |  | Included in the 25% residential allowance above
Crèche | Counted in FAR | Counted in GC |  | Included in the 25% residential allowance above
Community space / religious shrine / chemist / bank counter | Counted in FAR | Counted in GC |  | Max 300 sq.m of floor area on hospital / medical college sites
SUPER SPECIALTY HOSPITALS — SPECIFIC CONTROLS & BED NORMS
Parameter | Norm
Plot area per bed — General Hospital / Tertiary HCC | 80 sq.m of gross floor area per bed (governs minimum plot area sizing)
Plot area per bed — Super Specialty Hospital (certified by competent authority) | Up to 80 sq.m per bed (same norm; gross area worked out @ up to 80 sq.m/bed)
Plot area per bed — Maternity / Nursing home / Family Welfare / other health centres | 60 sq.m of gross floor area per bed
Enhanced FAR for existing premises | Permitted subject to payment of prescribed charges by Authority / land owning agency and other clearances
Environment clearance | Mandatory (bio-waste generation); zero discharge for sewerage enforced at promoter's cost
Power requirement | Additional power from grid; captive generation until grid supply available
Bed count determination | As per permissible FAR, community needs and demand studies — not a fixed cap
Industrial plot conversion to hospital (≤100 beds) | Permissible on plots ≥3,000 sq.m abutting 24 m ROW; under industrial DCN with conversion charges
ℹ Basement permitted for: parking ¦ services (AC plant, water storage, boiler, ESS, HT/LT panels, transformer, control room, pump house, generator) ¦ staff locker/changing room ¦ staff dining (no kitchen) ¦ CSSD ¦ back-office ¦ kitchen ¦ laundry ¦ radiology lab ¦ other essential hospital services — all with prior agency approval.

## Group Housing
GROUP HOUSING
UBBL Delhi 2016 · Annexure VI (MPD-2021) · Amendments up to Feb 2020
KEY DEVELOPMENT CONTROLS
Parameter | Value / Norm | Remarks
Minimum plot size | 3,000 sq.m | 1,670 sq.m for redevelopment/rehabilitation areas on 7.5 m ROW
Maximum ground coverage | 33.3% | Up to 40% for low-rise high-density housing (without lifts)
Maximum FAR | 200 | 15% additional FAR for EWS/CSP over and above 200 FAR
Maximum height | No restriction (NR) | Subject to clearance from AAI / Delhi Fire Service and other statutory bodies
Max density | 200 DUs/ha (900 persons/ha) | EWS/JJ clusters/resettlement colonies: up to 900 DUs/ha
Min road width (fronting) | 18 m ROW | 7.5 m ROW for redevelopment/rehabilitation/special area/Lal Dora
Community facilities | Min 400 sq.m OR 0.6% of FAR (free from FAR) | For community hall, crèche, library, senior citizen room, society office
EWS requirement | Min 15% of proposed FAR for EWS | Over and above 200 FAR; 50% retained by developer for CSP housing
Basement | Excluded from FAR | Only if used for parking, utilities & services
Stilts | Excluded from FAR; counted in height | Non-habitable stilt for parking/landscaping
MINIMUM SETBACKS (Table 17.1)
Plot Size (sq.m) | Front (m) | Rear (m) | Side-1 (m) | Side-2 (m)
Up to 60 | 0 | 0 | — | —
Above 60–150 | 3 | 1.5 avg | — | —
Above 150–300 | 4 | 2 avg | — | —
Above 300–500 | 4 | 3 | 3 | —
Above 500–2,000 | 6 | 3 | 3 | 3
Above 2,000–10,000 | 9 | 6 | 6 | 6
Above 10,000 | 15 | 12 | 12 | 12
ℹ Effective setbacks for Group Housing (min plot 3,000 sq.m): Front 9 m ¦ Rear 6 m ¦ Side-1 6 m ¦ Side-2 6 m
PARKING NORMS
Category | Parking Standard | Space: Open | Space: Covered | Space: Basement
General housing units | 2.0 ECS per 100 sq.m built-up area | 23 sq.m/ECS | 28 sq.m/ECS | 32 sq.m/ECS
EWS / Service personnel | 0.5 ECS per 100 sq.m built-up area | 23 sq.m/ECS | 28 sq.m/ECS | 32 sq.m/ECS

## Commercial
COMMERCIAL PLOTS — DEVELOPMENT CONTROLS
UBBL Delhi 2016 · Annexure VI (MPD-2021) Table 5.4 · Amendments up to Feb 2020
COMMERCIAL CENTRES — FAR, COVERAGE & PARKING (Table 5.4)
Use / Premises | Ground Coverage (%) | Max FAR | Height | Parking (ECS/100 sq.m) | Key Remarks
Convenience Shopping Centre / Local Shopping Centre / Local Commercial Areas | 40% | 100 | 15 m | 2 | 10% addl. coverage for atrium in LSC
Service Market | 40% | 100 | 15 m | 2 | —
Organised Informal Bazaar | 40% | 40 | 8 m | — | —
Community Centre / Non-hierarchical Commercial Centre | 25% | 125 | NR* | 3 | 10% addl. coverage for atrium
District Centre / Sub-CBD / Sub-City Level Commercial | 25% | 150 | NR* | 3 | 10% addl. coverage for atrium
Metropolitan City Centre / CBD (Connaught Place & Extension) | 25% | 150 | NR* | 3 | Existing height maintained at CP; no basement in middle circle
Commercial Complex (Fire Brigade Lane / Janpath Lane) | 25% | 150 | NR* | 3 | Coverage & FAR on presently available plot area
Hotel — plot below 30 m ROW | 40% | 325 | NR* | 3 | Max 10% addl. coverage for atrium; max 20% FAR for commercial office/retail
Hotel — plot on 30 m ROW and above | 40% | 375 | NR* | 3 | Enhanced FAR subject to payment of prescribed charges
Service Apartments | 30% | 225 | NR* | 2 | Min plot 2,000 sq.m; max apartment 60 sq.m BU
Any other commercial centre | 25% | 100 | NR* | 3 | Subject to statutory clearances
Commercial component with Railway / MRTS / ISBT Station | 80% | 200 | 20 m | 3 | Setbacks not mandatory; stilts for parking in rebuilding
Motels | 40% | 175 | NR* | 3 per 100 sq.m | Must face min 30 m ROW road
Wholesale Market / Integrated Freight Complex | 30% | 80 | NR* | 3 | Commercial office max 25% of total floor area
⚠ *NR = No restriction on height, subject to AAI / Delhi Fire Service / other statutory clearances. **Ground Coverage up to 50% for hotels where AAI height restriction applies.
MINIMUM SETBACKS FOR COMMERCIAL PLOTS (Table 17.1)
Plot Size (sq.m) | Front (m) | Rear (m) | Side-1 (m) | Side-2 (m) | Notes
Up to 60 | 0 | 0 | — | — | —
Above 60–150 | 3 | 1.5 avg | — | — | —
Above 150–300 | 4 | 2 avg | — | — | —
Above 300–500 | 4 | 3 | 3 | — | —
Above 500–2,000 | 6 | 3 | 3 | 3 | —
Above 2,000–10,000 | 9 | 6 | 6 | 6 | —
Above 10,000 | 15 | 12 | 12 | 12 | —
ℹ Setbacks NOT mandatory for commercial components with Railway / MRTS / ISBT. If permissible coverage not achievable, preceding category setbacks may apply.
GENERAL PARKING STANDARDS (Table 17.2)
Use Premises | Parking Standard (ECS / 100 sq.m floor area)
Residential | 2.0 ECS / 100 sq.m
Commercial | 3.0 ECS / 100 sq.m
Manufacturing / Industrial | 2.0 ECS / 100 sq.m
Government | 1.8 ECS / 100 sq.m
Public & Semi-Public Facilities | 2.0 ECS / 100 sq.m